|  | ......................... Pcs. .............................. € .............................. € GEZE TS 5000 SoftClose overhead door closer, for installation on fire and smoke protection doors, in accordance with EN 1154 A, size 2 - 6, with guide rail, for door widths up to 1,400 mm, barrier-free in accordance with DIN 18040 for door widths up to 1,100 mm, quiet and safe closing even in changing pressure conditions, closing force, closing speed and back check can be set from the front, with one valve integrated in the closer body for the gradual adjustment of the end closing speed for braking or accelerating the door between 15° and 0° with closing force display, standard installation on door leaf/hinge side, with mounting plate Alternative to the guide rail: ( ) with T-Stop guide rail, with integrated opening restrictor ( ) vertically adjustable guide rail Colour: ( ) silver-coloured ( ) white RAL 9016 ( ) simulated stainless steel ( ) RAL ..... |
| --- | --- |